|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **CONSTRUCTION PLAN FOR PRAGUE VELESLAVÍN RAILWAY STATION** | | | | |
|  |  |  |  |  |
|  |  |  |  |  |
| Number | Name | Location | Height | Area m2 or dimensions of room |
|  |  |  | m |  |
| **Public space and pavements** |  |  |  |  |
|  |  |  |  |  |
| 01 | Entrance hall |  | 3 | x |
| 02 | Passage, underpass |  | 3 | x |
| 03 | Passage, overpass |  | 3 |  |
| 04 | Transit |  | 3 |  |
| 05 | Stairways |  | min. 2.5 | min. w=1.6 m |
| 06 | Escalators |  | min. 2.5 | x |
| 07 | Escalator service area |  |  | x |
| 08 | Slopped access ramp |  | 2.5 | x |
| 09 | Passenger lift |  |  | 2.3x3 |
| 13 | Island platform |  | min. 2.5 | 270x6 |
| 14 | Side platform |  | min. 2.5 | 200x4.5 |
|  |  |  |  |  |
| **Service areas** |  |  |  |  |
|  |  |  |  |  |
| 20 | Transport office |  | 3 |  |
| 21 | Broom closet |  | 2.3 | 10 |
| 22 | Cleaning machines |  | 2.3 | 16 |
| 24 | Garbage |  | 2.3 | 6 |
| 25 | Service corridor |  | 2.1 | x |
| 26 | Service stairs |  | 2.5 |  |
| 28 | Service WC |  | 2.3 | x |
| 34 | Room for lifting platform |  | 2.5 |  |
|  |  |  |  |  |
| **Technological facilities** |  |  |  |  |
|  |  |  |  |  |
| 41.1 | HV |  | 3 | 3x3.5 |
| 41.2 | HV |  | 3 | 3x3.5 |
| 41.3 | Choke coil |  | 3 | 3x3 |
| 41.4 | Transformer |  | 3 | 3x3.5 |
| 41.5 | Transformer |  | 3 | 3x3.5 |
| 41.6 | LV switchgear |  | 3 | 3x3.5 |
| 42 | Communication room |  | 2.7 -3 | 18 |
| 43 | Remote transmission – dispatching control technology |  | 3 | 3x2.4 |
| 44 | Interlocking control room |  |  | 40 new TB |
| 45 | Cable duct | underneath the platform |  | 2x0.6 |
| 46 | Universal power supply source room |  |  | 10 new TB |
| 49 | Switching station |  | 3.5 |  |
|  |  |  |  |  |
| **Other technological facilities** |  |  |  |  |
|  |  |  |  |  |
| 50 | Non-faecal water tank |  |  | x |
| 51 | Sewage water tank |  |  | x |
| 52 | Pumping station |  |  | x |
| 53 | Water supply inlet |  |  | 1.5x4 shaft |
| 54 | Ventilation and AC engine room |  |  | x |
| 59 | Sub-switchboard |  | 2.5 | 3.5x3 new TB |
|  |  |  |  |  |
| **Uniform amenities** |  |  |  |  |
| 70 | Inquiry, booking |  |  | 15 |
| 74 | Check-in line |  |  | x |
| 75 | Ticket vending machines |  |  | x |
| 76 | Information system panel |  |  | x |
| 77 | Information panel for passengers |  |  | x |
| 78 | ATM |  |  | x |
| 79 | Advertising panels and spaces |  |  | x |